## Test_Data_McMurdo.csv
ClusterName | ClusterID | ProjectName | VendorName | VendorSiteName | VendorSiteAddress | VendorSiteCity | VendorSiteState | VendorSiteCountry | VendorSiteLatitude | VendorSiteLongitude | BizDevSelectDate | InProd | InDev | TypeEC2 | TypeCritNet | TypeHPC | TypeVPC | TypeProd | TypeCorp | TypeDX | TypeAIV_CF | TypeTCF_CF | TypeGrumpy | Type_X1 | Type_X2 | Type_X3 | Type_X4 | IPSGOSelect | BizDevSelect | VendorSiteVisitDate | IPSGOEngineer | BizDevRepresentative | Ph1ScoreAIA02 | Ph1ScoreAIA11 | Ph1ScoreAIA21 | Ph1ScoreAIA23 | Ph1ScoreAIA25 | Ph1ScoreAIA26 | Ph1ScoreAIA27 | Ph1ScoreAIA28 | Ph1ScoreTotal | Ph2ScoreAIA02 | Ph2ScoreAIA11 | Ph2ScoreAIA21 | Ph2ScoreAIA23 | Ph2ScoreAIA25 | Ph2ScoreAIA26 | Ph2ScoreAIA27 | Ph2ScoreAIA28 | Ph2ScoreTotal | Ph3ScoreAIA02 | Ph3ScoreAIA11 | Ph3ScoreAIA21 | Ph3ScoreAIA23 | Ph3ScoreAIA25 | Ph3ScoreAIA26 | Ph3ScoreAIA27 | Ph3ScoreAIA28 | Ph3ScoreTotal | CompScoreAIA02 | CompScoreAIA11 | CompScoreAIA21 | CompScoreAIA23 | CompScoreAIA25 | CompScoreAIA26 | CompScoreAIA27 | CompScoreAIA28 | CompScoreTotal | ReasonsFor | ReasonsAgainst | ShowStoppers | PrelimReportDate | FinalReportDate | SiteDeliverDate | AssessmentGUID
McMurdo | MMDS | Penquin Tale | Frozen Colo LLC | Chilly Willy 1 | 21 Willy Field Road McMurdo Station Antartica | McMurdo Station | Antarctica | 96599-1035 | -77.8451 | 166.7243 |  | X | X | X | X |  |  | X | X | [8 empty] | X | X | 2015-04-30 |  | jmmayer | 0.66667 | 0 | 0.75 | 1 | 1 | 0.78947 | 0.15385 | 0.5 | 0.61263 | 0.61111 | 1 | 0.75 | 0.4 | 0.78571 | 0.29268 | 0.5 | 0.37037 | 0.55125 | 0.4 | 0.86667 | 0 | 0.4 | 0 | 0.5 | 0 | 0 | 0.51365 | 0.56757 | 0.74074 | 0.72973 | 0.52632 | 0.77778 | 0.45714 | 0.36842 | 0.36364 | 0.56125 | <HTML><HEAD></HEAD><BODY><UL><li>Nice View</li><li>Long walks</li><li>2N UPS</li><li>12 Week Genrator Fuel</li><li>Battery Monitoring installed</li><li>Tight Security</li><li>Non-Syncronized Generator Plant"</li></BODY></UL> | <HTML><HEAD></HEAD><BODY><UL><li>Poor Security</li><li>No security on site after business hours</li><li>Windows on front of Data Center Space</li><li>Single POE for fiber into building</li><li>6 year old VRLA batteries installed, Overdue for replacement</li><li>Site does not perform IR Scanning"</li></BODY></UL> | <HTML><HEAD></HEAD><BODY><UL><li>ATS for utility feed1 and 2 is 30 years old</li><li>Site staff bad looking</li><li>Limited access during Antarctic Winter</li><li>12 week Shippment time</li><li>Site sits on the Antarctic Continent</li><li>No access during Winter</li><li>Satellite comms only</li><li>Comms are frequntly disrupted"</li></BODY></UL> | 2015-05-06 | 2015-05-18 | 2015-08-21 | 97B3FED7-90F7-4C4D-9693-CA48A459D23D